## Sheet1
ITEM LIST
# | Item Name | Item Type | Cost Price | Sales Price | Quantity | Unit
1 | 3TF 47 CONTACTOR | Inventory | 0 | 0 | 11 | PC (S)
2 | 3TF 47 CONTACTOR. | Inventory | 120000 | 120000 | 10 | PC (S)
3 | 415 LV CUTOUT | Inventory | 0 | 0 | 4 | PC (S)
4 | 415 LV CUTOUT (KICHWA CHA NGOMBE) | Inventory | 125000 | 125000 | 0 | PC (S)
5 | 4TNV88 Bottom Radiator Hose Pipe 20KVA | Inventory | 0 | 0 | 25 | PC (S)
6 | 4TNV88 Top Radiator Hose Pipe 20KVA | Inventory | 0 | 0 | 45 | PC (S)
7 | ADAPTER RGB | Inventory | 0 | 0 | -433 | PC (S)
8 | BOOTLACE LUGS PIN 1.5mmsq | 8 | 0 | 0 | 30000 | PC (S)
9 | BOOTLACE LUGS PIN 10mmsq | 9 | 0 | 0 | 25000 | PC (S)
10 | BOOTLACE LUGS PIN 16mmsq | 10 | 0 | 0 | 12000 | PC (S)
11 | BOOTLACE LUGS PIN 2.5mmsq | 11 | 0 | 0 | 23500 | PC (S)
12 | BOOTLACE LUGS PIN 25mmsq | 12 | 0 | 0 | 0 | PC (S)
13 | BOOTLACE LUGS PIN 35mmsq | 13 | 0 | 0 | 950 | PC (S)
14 | BOOTLACE LUGS PIN 4mmsq | 14 | 0 | 0 | 37400 | PC (S)
15 | BOOTLACE LUGS PIN 50mmsq | 15 | 0 | 0 | 1800 | PC (S)
16 | BOOTLACE LUGS PIN 6mmsq | 16 | 0 | 0 | 40000 | PC (S)
17 | BOOTLACE LUGS PIN 70mmsq | 17 | 0 | 0 | 1298 | PC (S)
18 | BOOTLACE PIN 2.5 MKUNJO | 18 | 0 | 0 | 3200 | PC (S)
19 | BOOTLACE PIN 6mmsq MKUNJO | 19 | 0 | 0 | 2000 | PC (S)
20 | BOOTLACE THROUGH LUGS 2.5mmsq | 20 | 0 | 0 | 4850 | PC (S)
21 | BOOTLACE THROUGH LUGS 6mmsq | 21 | 0 | 0 | 2500 | PC (S)
22 | BOOTLESS LUGS 6mmsq | 22 | 0 | 0 | 1000 | PC (S)
23 | BUSBAR ISOLATOR SM 35 | 23 | 0 | 0 | 371 | PC (S)
24 | BUSBAR ISOLATOR SM 40 | 24 | 0 | 0 | 250 | PC (S)
25 | BUSBAR ISOLATOR SM 76 | 25 | 0 | 0 | 117 | PC (S)
26 | C CLAMP 70 - 95mmsq | 26 | 0 | 0 | 63 | PC (S)
27 | CABLE GLAND METAL 63 | 27 | 0 | 0 | 36 | PKT (S)
28 | CABLE GLAND PG 09 (BLACK) | 28 | 0 | 0 | 2000 | PC (S)
29 | CABLE GLAND PG 09 (WHITE) | 29 | 0 | 0 | 2000 | PC (S)
30 | CABLE GLAND PG 11 (BLACK) | 30 | 0 | 0 | 2900 | PC (S)
31 | CABLE GLAND PG 11 (WHITE) | 31 | 0 | 0 | 2900 | PC (S)
32 | CABLE GLAND PG 135 (BLACK) | 32 | 0 | 0 | 1500 | PC (S)
33 | CABLE GLAND PG 135 (WHITE) | 33 | 0 | 0 | 1500 | PC (S)
34 | CABLE GLAND PG 16 (BLACK) | 34 | 0 | 0 | 2000 | PC (S)
35 | CABLE GLAND PG 16 (WHITE) | 35 | 0 | 0 | 1780 | PC (S)
36 | CABLE GLAND PG 21(BLACK) | 36 | 0 | 0 | 1000 | PC (S)
37 | CABLE GLAND PG 21(WHITE) | 37 | 0 | 0 | 1000 | PC (S)
38 | CABLE GLAND PG 25(BLACK) | 38 | 0 | 0 | 500 | PC (S)
39 | CABLE GLAND PG 25(WHITE) | 39 | 0 | 0 | 1600 | PC (S)
40 | CABLE GLAND PG 29 (BLACK) | 40 | 0 | 0 | 500 | PC (S)
41 | CABLE GLAND PG 29 (WHITE) | 41 | 0 | 0 | 1000 | PC (S)
42 | CABLE LUGS 16 | 42 | 1000 | 1000 | 4997 | PC (S)
43 | CABLE LUGS 185mmsq | 43 | 0 | 0 | 300 | PC (S)
44 | CABLE LUGS 240 | 44 | 5500 | 5500 | 50 | PC (S)
45 | CABLE LUGS 35 | 45 | 3000 | 3000 | 232 | PC (S)
46 | CABLE LUGS 4mmsq | 46 | 0 | 0 | 4240 | PC (S)
47 | CABLE LUGS 50 | 47 | 2200 | 2200 | 2582 | PC (S)
48 | CABLE LUGS 50 - 8MMSQ | 48 | 0 | 0 | 38 | PC (S)
49 | CABLE LUGS 6mmsq | 49 | 0 | 0 | 384 | PC (S)
50 | CABLE LUGS 70 | 50 | 5500 | 5500 | 1772 | PC (S)
51 | CABLE LUGS 95 | 51 | 5500 | 5500 | 66 | PC (S)
52 | CABLE TIES 100mmsq | 52 | 0 | 0 | 94 | PKT
53 | CABLE TIES 150mmsq | 53 | 0 | 0 | 108 | pKT
54 | CABLE TIES 250mmsq | 54 | 0 | 0 | 68 | PC (S)
55 | CABLE TIES 300mmsq | 55 | 0 | 0 | 146 | PC (S)
56 | CABLE TIES 350mmsq | 56 | 0 | 0 | 250 | PC (S)
57 | CABLE TIES 400mmsq | 57 | 0 | 0 | 149 | PC (S)
58 | CABLE TIES 450mmsq | 58 | 0 | 0 | 71 | PC (S)
59 | CAM STARTER | 59 | 0 | 0 | 7 | PC (S)
60 | CAPACITOR 10/12 KVAR 3PH | 60 | 0 | 0 | 26 | PC (S)
61 | CAPACITOR 12.5/15 KVAR 3P | 61 | 0 | 0 | 35 | PC (S)
62 | CAPACITOR 15/18 KVAR 3PH | 62 | 0 | 0 | 3 | PC (S)
63 | CAPACITOR 20/24 KVAR 3PH | 63 | 0 | 0 | 47 | PC (S)
64 | CAPACITOR 30/36 KVAR 3PH | 64 | 0 | 0 | 1 | PC (S)
65 | CAPACITOR 5.0 KVAR 3PH | 65 | 0 | 0 | 6 | PC (S)
66 | CAPACITOR 6.0KVAR 3PH | 66 | 0 | 0 | 35 | PC (S)
67 | CAPACITOR FOR POWER FACTOR D40 | 67 | 0 | 0 | 28 | PC (S)
68 | CAPACITOR FOR POWER FACTOR D65 | 68 | 0 | 0 | 25 | PC (S)
69 | CAPACITOR FOR POWER FACTOR D95 | 69 | 0 | 0 | 79 | PC (S)
70 | CAPACITOR KVAR 15 | 70 | 0 | 0 | 10 | PC (S)
71 | CAPACITOR KVAR 20KVA 3PH | 71 | 0 | 0 | 1 | PC (S)
72 | CAPACITOR KVAR 25 | 72 | 0 | 0 | 45 | PC (S)
73 | CAPACITOR MFD10 | 73 | 0 | 0 | 369 | PC (S)
74 | CAPACITOR MFD100 | 74 | 0 | 0 | 100 | PC (S)
75 | CAPACITOR MFD12 | 75 | 0 | 0 | 259 | PC (S)
76 | CAPACITOR MFD15 | 76 | 0 | 0 | 200 | PC (S)
77 | CAPACITOR MFD20 | 77 | 0 | 0 | 234 | PC (S)
78 | CAPACITOR MFD25 | 78 | 0 | 0 | 200 | PC (S)
79 | CAPACITOR MFD30 | 79 | 0 | 0 | 135 | PC (S)
80 | CAPACITOR MFD35 | 80 | 0 | 0 | 100 | PC (S)
81 | CAPACITOR MFD40 | 81 | 0 | 0 | 165 | PC (S)
82 | CAPACITOR MFD5 | 82 | 0 | 0 | 1 | PC (S)
83 | CAPACITOR MFD6 | 83 | 0 | 0 | 1 | PC (S)
84 | CAPACITOR MFD60 | 84 | 0 | 0 | 133 | PC (S)
85 | CAPACITOR MFD70 | 85 | 0 | 0 | 150 | PC (S)
86 | CAPACITOR MFD8 | 86 | 0 | 0 | 226 | PC (S)
87 | CAPACITOR UF45 | 87 | 0 | 0 | 33 | PC (S)
88 | CAT 6 | 88 | 0 | 0 | 20 | ROLL (S)
89 | CHANGE OVER 100A 4P (ORANGE) | 89 | 0 | 0 | 0 | PC (S)
90 | CHANGE OVER 32A | 90 | 0 | 0 | 7 | PC (S)
91 | CHANGEOVER 1000A | 91 | 0 | 0 | 4 | PC (S)
92 | CHANGEOVER 630A | 92 | 0 | 0 | 3 | PC (S)
93 | CHANGEOVER 63A 3P (ORANGE) | 93 | 0 | 0 | 7 | PC (S)
94 | CIRCUIT BREAKER LEGLAND 100A | 94 | 0 | 0 | 1 | PC (S)
95 | CLAMP ZA COPPER STRIPS | 95 | 0 | 0 | 170 | PC (S)
96 | COIL CONTACTOR NDOGO | 96 | 0 | 0 | 61 | PC (S)
97 | COIL CONTACTOR NDOGO D32 | 97 | 0 | 0 | 100 | PC (S)
98 | COIL CONTACTOR NDOGO D95 | 98 | 0 | 0 | 98 | PC (S)
99 | CON BEARING YANMAR 129150-23600 4D84 | 99 | 0 | 0 | 5 | PC (S)
100 | CONTACTOR 150 SCHNEIDER | 100 | 0 | 0 | 4 | PC (S)
101 | CONTACTOR 3TF 48A | 101 | 0 | 0 | 8 | PC (S)
102 | CONTACTOR 3TF 52 | 102 | 0 | 0 | 2 | PC (S)
103 | CONTACTOR ABB A50-30-11 | 103 | 0 | 0 | 39 | PC (S)
104 | CONTACTOR ABB A75-30-11 | 104 | 0 | 0 | 80 | PC (S)
105 | CONTACTOR ABB A75-40-00 | 105 | 0 | 0 | 81 | PC (S)
106 | CONTACTOR CA2 DN22 TELEMARCH | 106 | 0 | 0 | 48 | PC (S)
107 | CONTACTOR CAPACITOR D32 | 107 | 0 | 0 | 0 | PC (S)
108 | CONTACTOR D12 | 108 | 0 | 0 | 157 | PC (S)
109 | CONTACTOR D18 (ABUK / TELEMECHANIQUE) | 109 | 0 | 0 | 116 | PC (S)
110 | CONTACTOR D18 SCHNEIDER | 110 | 0 | 0 | 39 | PC (S)
111 | CONTACTOR D25 (ABUK/TELEMECHANIQUE/GAGIYA) | 111 | 0 | 0 | 937 | PC (S)
112 | CONTACTOR D25 SCHNEIDER | 112 | 0 | 0 | 71 | PC (S)
113 | CONTACTOR D32 (TELEMECHANIQUE/ABUK/GAGIYA) | 113 | 0 | 0 | 157 | PC (S)
114 | CONTACTOR D40 TELEMACHANIQUE | 114 | 0 | 0 | 551 | PC (S)
115 | CONTACTOR D50 | 115 | 0 | 0 | 40 | PC (S)
116 | CONTACTOR D65 (ABUK/TELEMECHANIQUE/GAGIYA) | 116 | 0 | 0 | 836 | PC (S)
117 | CONTACTOR D65 380V | 117 | 0 | 0 | -5 | PC (S)
118 | CONTACTOR D80 TELEMACHANIQUES | 118 | 0 | 0 | 52 | PC (S)
119 | CONTACTOR F-265 | 119 | 0 | 0 | 4 | PC (S)
120 | CONTACTOR FOR POWER FACTOR D25 | 120 | 0 | 0 | 75 | PC (S)
121 | CONTACTOR FOR POWER FACTOR D43 ANDELI | 121 | 0 | 0 | 12 | PC (S)
122 | CONTACTOR SCHNEIDER 115 | 122 | 0 | 0 | 2 | PC (S)
123 | CONTACTOR SCHNEIDER D32 | 123 | 28000 | 28000 | 115 | PC (S)
124 | CONTACTOR SCHNEIDER D65 | 124 | 65000 | 65000 | 200 | PC (S)
125 | CONTACTOR SCHNEIDER D95 | 125 | 80000 | 80000 | 46 | PC (S)
126 | CONTACTOR TELEMECANIQUES D95 | 126 | 30000 | 30000 | 493 | PC (S)
127 | CONTROL TRANSFORMER 200KVA | 127 | 0 | 0 | 11 | (PCS)
128 | CONTROL TRANSFORMER 300KVA | 128 | 0 | 0 | 3 | (PCS)
129 | CONTROLLER WIRE 1MM | Inventory | 0 | 0 | 3 | ROLL
130 | COPPER BAR 10MM*3MM (4M) | Inventory | 0 | 0 | 202 | PC (S)
131 | COPPER BAR 20MM*5MM | Inventory | 0 | 0 | -11 | PC (S)
132 | COPPER BAR 30MM*10MM | Inventory | 0 | 0 | 99 | PC (S)
133 | COPPER BAR 40MM*10MM | Inventory | 0 | 0 | 19 | PC (S)
134 | COPPER BAR 40MM*5MM | Inventory | 0 | 0 | -6 | PC (S)
135 | COPPER BAR 50MM*10MM | Inventory | 0 | 0 | 10 | PC (S)
136 | COPPER BAR 60MM*10MM | Inventory | 0 | 0 | 1 | PC (S)
137 | CRANE SWITCH | Inventory | 0 | 0 | 17 | PC (S)
138 | CRIMPING TOOL 240 | Inventory | 0 | 0 | 1 | PC (S)
139 | CRIMPING TOOL 300 | Inventory | 0 | 0 | 2 | PC (S)
140 | CRIMPING TOOL 50mmsq | Inventory | 0 | 0 | 12 | PC (S)
141 | CRIMPING TOOL SERIES 300 | Inventory | 0 | 0 | 9 | PC (S)
142 | CURRENT TRANSFORMER 100/5A | Inventory | 0 | 0 | 150 | PC (S)
143 | CURRENT TRANSFORMER 1000/5A | Inventory | 0 | 0 | 6 | PC (S)
144 | CURRENT TRANSFORMER 1600/5A | Inventory | 0 | 0 | 2 | PC (S)
145 | CURRENT TRANSFORMER 200/5 | Inventory | 0 | 0 | 40 | PC (S)
146 | CURRENT TRANSFORMER 300/5A | Inventory | 0 | 0 | 3 | PC (S)
147 | CURRENT TRANSFORMER 400/5A | Inventory | 0 | 0 | 7 | PC (S)
148 | CURRENT TRANSFORMER 50/5A | Inventory | 0 | 0 | 90 | PC (S)
149 | CURRENT TRANSFORMER 500/5 | Inventory | 0 | 0 | 46 | PC (S)
150 | CURRENT TRANSFORMER 600/5 | Inventory | 0 | 0 | 22 | PC (S)
151 | CURRENT TRANSFORMER 800/5A | Inventory | 0 | 0 | 26 | PC (S)
152 | CUT OUT FUSE 400A SQUARE | Inventory | 0 | 0 | 0 | PC (S)
153 | CUTOUT 1+PN | Inventory | 50000 | 50000 | 0 | PC (S)
154 | CUTOUT 1P | Inventory | 0 | 0 | 300 | PC (S)
155 | CYLNDER HEAD GASKET 129407-01340 | Inventory | 0 | 0 | 30 | PC (S)
156 | DC 50MM BROWN | Inventory | 0 | 0 | 479 | MTRS
157 | DC alternator 4TNE88 20KVA | Inventory | 0 | 0 | 0 | PC (S)
158 | DC alternator 4TNE88 30KV | Inventory | 0 | 0 | 18 | PC (S)
159 | DIGITAL MULTI METER TENSE (EM-06) | Inventory | 0 | 0 | 124 | PC (S)
160 | DIGITAL MULTI METER UNI T | Inventory | 0 | 0 | 3 | PC (S)
161 | DIN RAIL 1MTR | Inventory | 0 | 0 | 0 | PC (S)
162 | DIN RAIL 2MTR | Inventory | 0 | 0 | 85 | PC (S)
163 | DIRECT ONLINE D09 | Inventory | 0 | 0 | 42 | PC (S)
164 | DIRECT ONLINE D12 | Inventory | 0 | 0 | 8 | PC (S)
165 | DIRECT ONLINE D18 | Inventory | 0 | 0 | 36 | PC (S)
166 | DIRECT ONLINE D23 | Inventory | 0 | 0 | 0 | PC (S)
167 | DIRECT ONLINE D25 | Inventory | 0 | 0 | 5 | PC (S)
168 | DIRECT ONLINE D32 | Inventory | 0 | 0 | 32 | PC (S)
169 | DT 2 TIMER | Inventory | 0 | 0 | 642 | PC (S)
170 | DUCABLE 2.5 | Inventory | 0 | 0 | -82 | PC (S)
171 | EARTH TESTER | Inventory | 0 | 0 | 1 | PC (S)
172 | EMERGENCY STOP KIBOX | Inventory | 0 | 0 | 60 | PC (S)
173 | EMERGENCY STOP SWITCH SINGLE | Inventory | 0 | 0 | 54 | PC (S)
174 | FILTER 120-120 | Inventory | 0 | 0 | 100 | PC (S)
175 | FILTER 171-171 | Inventory | 0 | 0 | 100 | PC (S)
176 | FILTER 80-80 | Inventory | 0 | 0 | 100 | PC (S)
177 | FIXTURE 100 WATTS | Inventory | 0 | 0 | 57 | PC (S)
178 | FIXTURE 120 WATTS (MAX BRAND) | Inventory | 0 | 0 | 0 | PC (S)
179 | FLEXIBLE 16mmsq x 4 Core | Inventory | 0 | 0 | 2 | ROLL (S)
180 | Flexible Cable 1.5mmsq x 3 Core | Inventory | 0 | 0 | 30 | ROLL (S)
181 | Flexible Cable 1.5mmsq x 4 Core | Inventory | 0 | 0 | 20 | ROLL (S)
182 | Flexible Cable 10MM*4CORE | Inventory | 0 | 0 | 10 | ROLL (S)
183 | Flexible Cable 2.5MM*3CORE | Inventory | 0 | 0 | 25 | ROLL (S)
184 | Flexible Cable 2.5MM*4CORE | Inventory | 0 | 0 | 33 | ROLL (S)
185 | Flexible Cable 4MM*4CORE | Inventory | 0 | 0 | 37 | ROLL (S)
186 | Flexible Cable 4mmsq x 3 Core | Inventory | 0 | 0 | 26 | ROLL (S)
187 | Flexible Cable 6MM*4CORE | Inventory | 0 | 0 | 21 | ROLL (S)
188 | FLEXIBLE CONDUIT PIPE 20mmsq | Inventory | 0 | 0 | 32 | ROLL (S)
189 | FLEXIBLE CONDUIT PIPE 25mmsq | Inventory | 0 | 0 | 55 | ROLL (S)
190 | FLEXIBLE CONDUIT PIPE 35mmsq | Inventory | 0 | 0 | 18 | ROLL (S)
191 | FLEXIBLE CONDUIT PIPE 40mmsq | Inventory | 0 | 0 | 12 | ROLL (S)
192 | FLEXIBLE CONDUIT PIPE 50mmsq | Inventory | 0 | 0 | 14 | ROLL (S)
193 | FLOAT SWITCH | Inventory | 0 | 0 | 18 | PC (S)
194 | FORWARD AND REVERSE (ANDELI BRAND) 30A | Inventory | 0 | 0 | 98 | PC (S)
195 | FUEL LIFT PUMP 12V | Inventory | 80000 | 80000 | 60 | PC (S)
196 | FUEL PASTE | Inventory | 0 | 0 | 0 | PC (S)
197 | FUEL SOLENOID 1503ES-12A5UC5S | Inventory | 0 | 0 | 34 | PC (S)
198 | Fuel Solenoid Switch 1503ES-12S5SUC12S | Inventory | 0 | 0 | 63 | PC (S)
199 | Fuel Solenoid Switch 1503ES-12S5SUC5S | Inventory | 0 | 0 | 145 | PC (S)
200 | Fuel Solenoid Switch U85206452 PERKINS | Inventory | 0 | 0 | 0 | PC (S)
201 | FUSE 20A CATRAGE | Inventory | 0 | 0 | 10 | PC (S)
202 | FUSE ANDELI 63A NENE (CARTRIGE) | Inventory | 0 | 0 | 8 | PC (S)
203 | FUSE BASE 160A | Inventory | 0 | 0 | 39 | PC (S)
204 | FUSE BASE 400A | Inventory | 0 | 0 | 18 | PC (S)
205 | FUSE BASE 400A 660V | Inventory | 0 | 0 | 6 | PC (S)
206 | FUSE BASE 630A 690V | Inventory | 0 | 0 | 18 | PC (S)
207 | FUSE CATRAGE | Inventory | 0 | 0 | 39 | PC (S)
208 | FUSE LINK HT 4A | Inventory | 0 | 0 | 390 | PC (S)
209 | GASOLINE GAUGE PASTE( KOLOR KUT) | Inventory | 25000 | 25000 | 48 | PC (S)
210 | GAVE SWITCH | Inventory | 0 | 0 | 2 | PC (S)
211 | GV2 RANGE 17-23A | Inventory | 0 | 0 | 24 | PC (S)
212 | GV2 RANGE 2.5-4A | Inventory | 0 | 0 | 15 | PC (S)
213 | GV2 RANGE 4-6.3A | Inventory | 0 | 0 | 17 | PC (S)
214 | GV2 RANGE 32A | Inventory | 0 | 0 | 2 | PC (S)
215 | HAND CRIMPING TOOL 120 | Inventory | 0 | 0 | 8 | PC (S)
216 | HAND CRIMPING TOOL 16mmsq | Inventory | 0 | 0 | 17 | PC (S)
217 | HRC FUSE 200A | Inventory | 0 | 0 | 60 | PC (S)
218 | HRC FUSE 80A | Inventory | 0 | 0 | 259 | PC (S)
219 | INDICATOR LAMP | Inventory | 0 | 0 | 557 | PC (S)
220 | INDICATOR VOLTAGE | Inventory | 0 | 0 | -40 | PC (S)
221 | INDICATOR ZA KAWAIDA | Inventory | 0 | 0 | 1187 | PC (S)
222 | INDUSTRIAL PLUG 32A | Inventory | 0 | 0 | 47 | PC (S)
223 | INVENTOR | Inventory | 0 | 0 | 60 | PC (S)
224 | ISOLATOR 100A 4P (ANDELI BRAND) | Inventory | 0 | 0 | 0 | PC (S)
225 | ISOLATOR 63A | Inventory | 0 | 0 | 8 | PC (S)
226 | ISOLATOR 63A 4P (ANDELI BRAND) | Inventory | 0 | 0 | 5 | PC (S)
227 | ISOLATOR ON/OFF 32A 3POLE ANDELI | Inventory | 0 | 0 | 20 | PC (S)
228 | JOINT KIT M11 | Inventory | 0 | 0 | 292 | PC (S)
229 | JOINT KIT M12 | Inventory | 0 | 0 | 8 | PC (S)
230 | JOINT KIT M16 | Inventory | 0 | 0 | 6 | PC (S)
231 | KAVACHA 63A | Inventory | 0 | 0 | 5 | PC (S)
232 | Knife Fuse 100A | Inventory | 0 | 0 | 98 | PC (S)
233 | KNIFE FUSE 125A | Inventory | 0 | 0 | 111 | PC (S)
234 | Knife Fuse 12A | Inventory | 0 | 0 | 6 | PC (S)
235 | KNIFE FUSE 160A | Inventory | 0 | 0 | 134 | PC (S)
236 | KNIFE FUSE 16A | Inventory | 0 | 0 | 192 | PC (S)
237 | Knife Fuse 200A | Inventory | 0 | 0 | 36 | PC (S)
238 | Knife Fuse 25A | Inventory | 0 | 0 | 174 | PC (S)
239 | Knife Fuse 32A | Inventory | 0 | 0 | 139 | PC (S)
240 | KNIFE FUSE 400A | Inventory | 0 | 0 | 36 | PC (S)
241 | Knife Fuse 40A | Inventory | 0 | 0 | 200 | PC (S)
242 | KNIFE FUSE 50A | Inventory | 0 | 0 | 190 | PC (S)
243 | Knife Fuse 630A | Inventory | 0 | 0 | 0 | PC (S)
244 | Knife Fuse 63A | Inventory | 0 | 0 | 170 | PC (S)
245 | KNIFE FUSE 80A | Inventory | 0 | 0 | 170 | PC (S)
246 | LIGHTING ARRESTOR | Inventory | 0 | 0 | 283 | PC (S)
247 | LIMIT SWITCH | Inventory | 0 | 0 | 0 | PC (S)
248 | LOUVER FITTING | Inventory | 0 | 0 | 20 | PC (S)
249 | MAIN BEARING YANMAR 129001-02931 4D84 | Inventory | 0 | 0 | 5 | PC (S)
250 | MAIN SWITCH BODY | Inventory | 0 | 0 | 20 | PC (S)
251 | MAIN SWITCH SURFACE 3WAYS | Inventory | 0 | 0 | 4 | PC (S)
252 | MCB ABB 100 3P | Inventory | 0 | 0 | 44 | PC (S)
253 | MCB ABB 32A 1P (AC) | Inventory | 0 | 0 | 11 | PC (S)
254 | MCB ABB 63A 1P (AC) | Inventory | 0 | 0 | 63 | PC (S)
255 | MCB ABB 6A 1P | Inventory | 0 | 0 | 20 | PC (S)
256 | MCB ANDELI 100A 3POLE | Inventory | 0 | 0 | 36 | PC (S)
257 | MCB ANDELI 125A 3POLE | Inventory | 0 | 0 | 31 | PC (S)
258 | MCB ANDELI 125A 4P | Inventory | 0 | 0 | 37 | PC (S)
259 | MCB ANDELI 32A 4P | Inventory | 0 | 0 | 74 | PC (S)
260 | MCB ANDELI 63A 4P | Inventory | 0 | 0 | 44 | PC (S)
261 | MCB SCHNEIDER 25A 3P | Inventory | 0 | 0 | 80 | PC (S)
262 | MCB SCHNEIDER 32A 3POLE | Inventory | 0 | 0 | 212 | PC (S)
263 | MCB SCHNEIDER 63A 3P AC | Inventory | 0 | 0 | 158 | PC (S)
264 | MCB SCHNEIDER 6A 1P (AC) | Inventory | 0 | 0 | 51 | PC (S)
265 | MCB SCHNEIDER 80A 1P (DC) | Inventory | 0 | 0 | 51 | PC (S)
266 | MECHANICAL INTERLOCK VE5 | Inventory | 0 | 0 | 37 | PC (S)
267 | MOTOR SIREN 990A | Inventory | 0 | 0 | 1 | PC (S)
268 | MOTOR SIREN MS290 | Inventory | 0 | 0 | 6 | PC (S)
269 | MOTOR SIREN MS-390-220V | Inventory | 0 | 0 | 9 | PC (S)
270 | MOTOR SIREN MS-490-220V | Inventory | 0 | 0 | 0 | PC (S)
271 | MOTOR SIREN MS-690-220V | Inventory | 0 | 0 | 1 | PC (S)
272 | MULTI FOAM | Inventory | 0 | 0 | 2021 | PC (S)
273 | Oil Pressure Sensor 114250-39450 | Inventory | 0 | 0 | 473 | PC (S)
274 | Oil seal PERKIN 20KV REAR | Inventory | 0 | 0 | 50 | PC (S)
275 | OIL SEAL PERKIN 20KVA FRONT | Inventory | 0 | 0 | 50 | PC (S)
276 | Oil seal Yanmar 4TNE88 129120-01780 | Inventory | 0 | 0 | 145 | PC (S)
277 | Oil seal Yanmar 4TNE88 129795-01800 | Inventory | 0 | 0 | 260 | PC (S)
278 | OVER CURRENT 100A 3POLE (T MAX BRAND) | Inventory | 0 | 0 | 13 | PC (S)
279 | OVER CURRENT 125A 3P (ABB BRAND) | Inventory | 0 | 0 | 32 | PC (S)
280 | OVER CURRENT 125A 3P (ANDELI BRAND) | Inventory | 0 | 0 | 8 | PC (S)
281 | OVER CURRENT 125A 4P (ABB BRAND) | Inventory | 0 | 0 | 37 | PC (S)
282 | OVER CURRENT 125A 4P (ANDELI BRAND) | Inventory | 0 | 0 | 3 | PC (S)
283 | OVER CURRENT 1600A 3POLE (ABB BRAND) | Inventory | 0 | 0 | 0 | PC (S)
284 | OVER CURRENT 1600A 4POLE (ABB BRAND) | Inventory | 0 | 0 | 2 | PC (S)
285 | OVER CURRENT 160A 3POLE (T MAX BRAND) | Inventory | 0 | 0 | 36 | PC (S)
286 | OVER CURRENT 160A 4P (ANDELI BRAND) | Inventory | 0 | 0 | 11 | PC (S)
287 | OVER CURRENT 250A 3P | Inventory | 0 | 0 | 27 | PC (S)
288 | OVER CURRENT 250A 3P (ABB BRAND) | Inventory | 0 | 0 | 30 | PC (S)
289 | OVER CURRENT 250A 4P (ABB BRAND) | Inventory | 0 | 0 | 46 | PC (S)
290 | OVER CURRENT 400A 3POLE (ABB BRAND) | Inventory | 0 | 0 | 8 | PC (S)
291 | OVER CURRENT 400A 4POLE (ABB BRAND) | Inventory | 0 | 0 | 11 | PC (S)
292 | OVER CURRENT 400A 4POLE (T MAX) | Inventory | 0 | 0 | 5 | PC (S)
293 | OVER CURRENT 630A 4P (ABB BRAND) | Inventory | 0 | 0 | 3 | PC (S)
294 | OVER CURRENT 800A 3POLE (ABB BRAND) | Inventory | 0 | 0 | 13 | PC (S)
295 | OVER CURRENT 800A 4POLE (ABB BRAND) | Inventory | 0 | 0 | 4 | PC (S)
296 | OVER CURRENT T MAX 400A 3POLE | Inventory | 0 | 0 | 4 | PC (S)
297 | OVER CURRENT TMAX 250 3P | Inventory | 0 | 0 | 43 | PC (S)
298 | OVERCURRENT 630A 4P | Inventory | 0 | 0 | 2 | PC (S)
299 | OVERCURRENT 800A 4P | Inventory | 0 | 0 | 1 | PC (S)
300 | OVERCURRENT CHINT 125A 3P | Inventory | 0 | 0 | 34 | PC (S)
301 | OVERCURRENT SCHNEIDER | Inventory | 0 | 0 | 0 | PC (S)
302 | OVERHAUL GASKET 719609-92610 YANMAR | Inventory | 0 | 0 | 20 | PC (S)
303 | OVERLOA NDOGO 5-5-8A | Inventory | 0 | 0 | 44 | PC (S)
304 | OVERLOAD 7-10A | Inventory | 0 | 0 | 1 | PC (S)
305 | OVERLOAD KUBWA 23-32A | Inventory | 0 | 0 | 244 | PC (S)
306 | OVERLOAD KUBWA 30-40A | Inventory | 0 | 0 | 150 | PC (S)
307 | OVERLOAD KUBWA 48-65A | Inventory | 0 | 0 | 126 | PC (S)
308 | OVERLOAD KUBWA 63-80A | Inventory | 0 | 0 | 5 | PC (S)
309 | OVERLOAD NDOGO 12-18A | Inventory | 0 | 0 | 133 | PC (S)
310 | OVERLOAD NDOGO 17-25A | Inventory | 0 | 0 | 78 | PC (S)
311 | OVERLOAD NDOGO 23-32A | Inventory | 0 | 0 | 104 | PC (S)
312 | OVERLOAD NDOGO 9-13A | Inventory | 0 | 0 | 42 | PC (S)
313 | OVERLOAD RANGE 80-93A | Inventory | 0 | 0 | 4 | PC (S)
314 | PANEL BOX 800*600*300 | Inventory | 0 | 0 | -2 | PC (S)
315 | PANEL BOX 1000*800*300 | Inventory | 0 | 0 | -1 | PC (S)
316 | PANEL BOX 1200*1000*250 | Inventory | 0 | 0 | 3 | PC (S)
317 | PANEL BOX 300*200*150 | Inventory | 0 | 0 | 0 | PC (S)
318 | PANEL BOX 400*300*200 | Inventory | 0 | 0 | 68 | PC (S)
319 | PANEL BOX 500*300*300 | Inventory | 0 | 0 | 7 | PC (S)
320 | PANEL BOX 500*400*200 | Inventory | 0 | 0 | -1 | PC (S)
321 | PANEL BOX 600*400*200 | Inventory | 0 | 0 | 8 | PC (S)
322 | PANEL BOX 600*500*200 | Inventory | 0 | 0 | 1 | PC (S)
323 | PANEL METER (ANALOGY AMETER 100-800) | Inventory | 0 | 0 | 2 | PC (S)
324 | PANELFAN NDOGO | Inventory | 0 | 0 | 62 | PC (S)
325 | PEDAL SWITCH | Inventory | 0 | 0 | 15 | PC (S)
326 | PF CONTROLLER 12 STEPS | Inventory | 0 | 0 | 8 | PC (S)
327 | PHASE FAILURE TENSE ANALOG | Inventory | 0 | 0 | 98 | PC (S)
328 | PHASE FAILURE TENSE DIGITAL | Inventory | 0 | 0 | 40 | PC (S)
329 | PIN LUGS 10mmsq | Inventory | 0 | 0 | 1400 | PC (S)
330 | PIN LUGS 16mmsq | Inventory | 0 | 0 | 3911 | PC (S)
331 | PIN LUGS 25mmsq | Inventory | 0 | 0 | 622 | PC (S)
332 | PIN LUGS 35mmsq | Inventory | 0 | 0 | 640 | PC (S)
333 | PIN LUGS 50mmsq | Inventory | 0 | 0 | 450 | PC (S)
334 | PIN LUGS 6mmsq | Inventory | 0 | 0 | 2596 | PC (S)
335 | PIN LUGS 70mmsq | Inventory | 0 | 0 | 600 | PC (S)
336 | PIN LUGS 95-16mmsq | Inventory | 0 | 0 | 43 | PC (S)
337 | PIN LUGS BAPA 16mmsq | Inventory | 0 | 0 | -45 | PC (S)
338 | PIN LUGS BAPA 25mmsq | Inventory | 0 | 0 | 180 | PC (S)
339 | PIN LUGS BAPA 35mmsq | Inventory | 0 | 0 | 900 | PC (S)
340 | PIN LUGS BAPA 50mmsq | Inventory | 0 | 0 | 100 | PC (S)
341 | PIN LUGS BAPA 70mmsq | Inventory | 0 | 0 | 70 | PC (S)
342 | PIN LUGS CHADEMA 4mmsq | Inventory | 0 | 0 | 500 | PC (S)
343 | POWER CONTROLLER 12LEGS | Inventory | 0 | 0 | 1 | PC (S)
344 | POWER CONTROLLER PUSH BUTTON CHUMA | Inventory | 0 | 0 | 61 | PC (S)
345 | POWER FACTOR CONTROLLER 6WAYS | Inventory | 0 | 0 | 4 | PC (S)
346 | POWER FACTOR CONTROLLER 8WAYS | Inventory | 0 | 0 | 2 | PC (S)
347 | POWER SUPPLY 12V 12.5A | Inventory | 0 | 0 | 25 | PC (S)
348 | POWER SUPPLY 12V 16.5A | Inventory | 0 | 0 | 27 | PC (S)
349 | POWER SUPPLY 24V 16A | Inventory | 0 | 0 | 1 | PC (S)
350 | POWER SUPPLY 24V 6.5A | Inventory | 0 | 0 | 11 | PC (S)
351 | POWER SUPPLY 24V 8.3A | Inventory | 0 | 0 | 6 | PC (S)
352 | POWER SUPPLY 24V 8.5A | Inventory | 0 | 0 | 4 | PC (S)
353 | PUSH BUTTON ANDELI | Inventory | 0 | 0 | 0 | PC (S)
354 | PUSH BUTTON DOUBLE | Inventory | 0 | 0 | 1835 | PC (S)
355 | PUSH BUTTON KITAA (CONTROLLER SWITCH) | Inventory | 0 | 0 | 49 | PC (S)
356 | PUSH BUTTON ROUND (BILA KITAA) | Inventory | 0 | 0 | 12 | PC (S)
357 | PUSH BUTTON SINGLE | Inventory | 0 | 0 | 0 | PC (S)
358 | PUSH BUTTON STARTER CENTER LIGHT | Inventory | 0 | 0 | 105 | PC (S)
359 | PUUSH BUTTON SINGLE (GREEN) | Inventory | 0 | 0 | 200 | PC (S)
360 | PUUSH BUTTON SINGLE (RED) | Inventory | 0 | 0 | 180 | PC (S)
361 | Radiator Cap 129987-44570 YANMAR | Inventory | 0 | 0 | 63 | PC (S)
362 | Radiator Cap PERKINS | Inventory | 0 | 0 | 100 | PC (S)
363 | RELAY (FINDER BRAND) | Inventory | 0 | 0 | 150 | PC (S)
364 | RELAY BASE 11 LEGS | Inventory | 0 | 0 | 135 | PC (S)
365 | RELAY BASE 14 LEGS | Inventory | 0 | 0 | 534 | PC (S)
366 | RELAY DIGITAL | Inventory | 0 | 0 | 27 | PC (S)
367 | RELAY MIGUU 8 220V | Inventory | 0 | 0 | 74 | PC (S)
368 | RELAY V12 | Inventory | 0 | 0 | 540 | PC (S)
369 | RELAY V220 | Inventory | 0 | 0 | 370 | PC (S)
370 | RELAY V24 | Inventory | 0 | 0 | 720 | PC (S)
371 | RELAY V24 14 LEGS/WAYS SQUARE | Inventory | 0 | 0 | 138 | PC (S)
372 | RELAY V48 | Inventory | 0 | 0 | 159 | PC (S)
373 | RELAY V48 14LEGS/WAYS SQUARE | Inventory | 0 | 0 | 72 | PC (S)
374 | SCORCH TAPE (WATER PROOF 3M) | Inventory | 0 | 0 | 495 | PC (S)
375 | SELECTOR (2 POSITION) | Inventory | 0 | 0 | 124 | PC (S)
376 | Selector Ameter & Voltmeter | Inventory | 0 | 0 | 404 | PC (S)
377 | SELECTOR XB2 BD21 | Inventory | 0 | 0 | 7 | (PCS)
378 | SHNEIDER D09 | Inventory | 0 | 0 | 104 | PC (S)
379 | SILCON | Inventory | 0 | 0 | 960 | PC (S)
380 | SLEEVE 10mmsq BLACK | Inventory | 0 | 0 | -6 | ROLL
381 | SLEEVE 10mmsq RED | Inventory | 0 | 0 | 16 | ROLL
382 | SLEEVE 16mmsq BLUE | Inventory | 0 | 0 | 21 | ROLL
383 | SLEEVE 20mmsq | Inventory | 0 | 0 | 63 | ROLL
384 | SLEEVE 25MMSQ | Inventory | 0 | 0 | 27 | ROLL (S)
385 | SLEEVE 30MMSQ | Inventory | 0 | 0 | 20 | PC (S)
386 | SLEEVE 40mmsq | Inventory | 0 | 0 | 29 | ROLL
387 | SOLID STARTER RELAY | Inventory | 0 | 0 | 21 | PC (S)
388 | STABLIZER 1.5KV 1PHS SLIDE | Inventory | 0 | 0 | 32 | PC (S)
389 | STABLIZER 100KV 3PHS | Inventory | 0 | 0 | 3 | PC (S)
390 | STABLIZER 10KVA 1PHS SLIDE | Inventory | 0 | 0 | 11 | PC (S)
391 | STABLIZER 10KVA 1PHS STAND | Inventory | 0 | 0 | 4 | PC (S)
392 | STABLIZER 10KVA 3PHS | Inventory | 0 | 0 | 0 | PC (S)
393 | STABLIZER 15KV 1PHS STAND | Inventory | 0 | 0 | 5 | PC (S)
394 | STABLIZER 15KV 3PHS | Inventory | 0 | 0 | 2 | PC (S)
395 | STABLIZER 1KV 1PHS SLIDE | Inventory | 0 | 0 | 50 | PC (S)
396 | STABLIZER 20KVA 3PHS | Inventory | 0 | 0 | 4 | PC (S)
397 | STABLIZER 2KVA 1PHS SLIDE | Inventory | 0 | 0 | 29 | PC (S)
398 | STABLIZER 30KVA 3PHS | Inventory | 0 | 0 | 4 | PC (S)
399 | STABLIZER 3KVA 1PHS SLIDE | Inventory | 0 | 0 | 17 | PC (S)
400 | STABLIZER 500KV 1PHS SLIDE | Inventory | 0 | 0 | 52 | PC (S)
401 | STABLIZER 50KVA 3PHS | Inventory | 0 | 0 | 2 | PC (S)
402 | STABLIZER 5KVA 1PHS SLIDE | Inventory | 0 | 0 | 29 | PC (S)
403 | STABLIZER 5KVA 1PHS STAND | Inventory | 0 | 0 | 2 | PC (S)
404 | STABLIZER 60KV 3PHS | Inventory | 0 | 0 | 1 | PC (S)
405 | STABLIZER 7.5KVA 1PHS SLIDE | Inventory | 0 | 0 | 4 | PC (S)
406 | STARTER 7.HP (HAVELS) | Inventory | 0 | 0 | 0 | PC (S)
407 | STARTER D40 | Inventory | 0 | 0 | 1 | PC (S)
408 | STARTER HAVELS 75HP | Inventory | 0 | 0 | 1 | PC (S)
409 | STARTER PUSH BUTTON (BILA TAA) | Inventory | 0 | 0 | 40 | PC (S)
410 | STARTING RELAY COMPLETE | Inventory | 0 | 0 | 325 | PC (S)
411 | Stator Motor Yanmar 20KVA | Inventory | 0 | 0 | 51 | PC (S)
412 | Stator Motor Yanmar 30KV | Inventory | 0 | 0 | 39 | PC (S)
413 | STEP DOWN 1000W | Inventory | 125000 | 125000 | 10 | PC (S)
414 | STEP DOWN 2000W | Inventory | 190000 | 190000 | 5 | PC (S)
415 | STEP DOWN 200W | Inventory | 40000 | 40000 | 29 | PC (S)
416 | STEP DOWN 5000W | Inventory | 500000 | 500000 | 5 | PC (S)
417 | STEP DOWN 500W | Inventory | 65000 | 65000 | 69 | PC (S)
418 | SUB METER ZA LUKU | Inventory | 0 | 0 | 0 | PC (S)
419 | SUPER TIMER | Inventory | 0 | 0 | 388 | PC (S)
420 | SURGE ARRESTOR (SCHNEIDER BRAND) | Inventory | 0 | 0 | 338 | PC (S)
421 | SURGE ARRESTOR 2POLE (ANDELI BRAND) | Inventory | 0 | 0 | 26 | PC (S)
422 | SURGE ARRESTOR 4P 40KA (ANDELI BRAND) | Inventory | 0 | 0 | 13 | PC (S)
423 | SURGE PROTECTOR | Inventory | 0 | 0 | 1 | PC (S)
424 | SWITCH DISCONNECTOR FUSE 400A | Inventory | 0 | 0 | 1 | PC (S)
425 | TELEMECANIQUES D09 | Inventory | 0 | 0 | 36 | PC (S)
426 | TEMPERATURE CONTROLLER REX-700 (ANDELI) K-400C | Inventory | 0 | 0 | 29 | PC (S)
427 | TEMPERATURE CONTROLLER SC30 | Inventory | 0 | 0 | 7 | PC (S)
428 | TEMPERATURE CONTROLLER C 3 400C | Inventory | 0 | 0 | 6 | PC (S)
429 | TEMPERATURE CONTROLLER RIX C900 | Inventory | 0 | 0 | 12 | PC (S)
430 | Temperature Sensor | Inventory | 0 | 0 | 15 | PC (S)
431 | TERMINAL BLOCK 4mmsq | Inventory | 0 | 0 | 1400 | PC (S)
432 | TERMINAL BLOCK 50mmsq | Inventory | 0 | 0 | 10 | PC (S)
433 | TERMINAL BLOCK 6mmsq | Inventory | 0 | 0 | 1300 | PC (S)
434 | TERMINAL CONNECTOR 10mmsq | Inventory | 0 | 0 | 900 | PC (S)
435 | TERMINAL CONNECTOR 16mmsq | Inventory | 0 | 0 | 1670 | PC (S)
436 | TERMINAL CONNECTOR 2.5mmsq | Inventory | 0 | 0 | 1400 | PC (S)
437 | TERMINAL CONNECTOR 25mmsq | Inventory | 0 | 0 | 540 | PC (S)
438 | TERMINAL CONNECTOR 35mmsq | Inventory | 0 | 0 | 680 | PC (S)
439 | TERMINAL CONNECTOR 4mmsq | Inventory | 0 | 0 | 54 | PC (S)
440 | TERMINAL CONNECTOR 50mmsq | Inventory | 0 | 0 | 215 | PC (S)
441 | TERMINAL CONNECTOR 70mmsq | Inventory | 0 | 0 | 1135 | PC (S)
442 | TERMINATION KIT 150-240 | Inventory | 0 | 0 | 11 | PC (S)
443 | TERMINATION KIT 50-120 | Inventory | 0 | 0 | 2 | PC (S)
444 | THROUGH LUGS 10mmsq | Inventory | 0 | 0 | 724 | PC (S)
445 | THROUGH LUGS 16mmsq | Inventory | 0 | 0 | 497 | PC (S)
446 | THROUGH LUGS 25mmsq | Inventory | 0 | 0 | 1490 | PC (S)
447 | THROUGH LUGS 70mmsq | Inventory | 0 | 0 | 758 | PC (S)
448 | TIMER TENSE | Inventory | 0 | 0 | 148 | PC (S)
449 | TRANSFORMER BK 250 | Inventory | 0 | 0 | 16 | PC (S)
450 | TRANSFORMER BK200 | Inventory | 0 | 0 | 12 | PC (S)
451 | TRANSFORMER BK300 | Inventory | 0 | 0 | 3 | PC (S)
452 | Trickle Charger DSE 12V | Inventory | 0 | 0 | 0 | PC (S)
453 | U45537130 | Inventory | 0 | 0 | 50 | PC (S)
454 | U45537140 | Inventory | 0 | 0 | 47 | PC (S)
455 | VIKOMBE VYA D IRON | Inventory | 0 | 0 | 605 | PC (S)
456 | VIN TAPES TRONIC | Inventory | 0 | 0 | 7598 | PC (S)
457 | WARNING LIGHT | Inventory | 0 | 0 | 2 | ROLL (S)
458 | WARNING TAPES | Inventory | 0 | 0 | 7 | ROLL (S)
459 | WATER FINDING PASTE (KOLOR KUT) | Inventory | 25000 | 25000 | 0 | PC (S)
460 | WATER PROOF BOX 100*100*70 | Inventory | 0 | 0 | 126 | PC (S)
461 | WATER PROOF BOX 150*110*70 | Inventory | 0 | 0 | 0 | PC (S)
462 | WATER PROOF BOX 150*150*70 | Inventory | 0 | 0 | -9 | PC (S)
463 | WATER PROOF BOX 200*200*80 | Inventory | 0 | 0 | 3 | PC (S)
464 | WATER PROOF BOX 255*200*80 | Inventory | 0 | 0 | 94 | PC (S)
465 | WATER PROOF BOX 300*250*120 | Inventory | 0 | 0 | 56 | PC (S)
466 | WATER PROOF BOX 400*350*120 | Inventory | 0 | 0 | 1 | PC (S)
467 | WATER PROOF TAPE | Inventory | 0 | 0 | 449 | PC (S)
468 | Water Pump 3TNE88 30KVA | Inventory | 0 | 0 | 14 | PC (S)
469 | Water Pump 4TNE88 20KVA | Inventory | 0 | 0 | 94 | PC (S)
470 | Water Sensor | Inventory | 0 | 0 | 200 | PC (S)
471 | Water Separator | Inventory | 0 | 0 | 0 | PC (S)